| PROJECT NAME: |  |  |  |  | JOB No. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATTACHMENT: |  |  |  |  | MR No. |  |  |  |
| DETAILS |  |  |  |  |  |  |  |  |
|  | NOZZLE SCHEDULE. Mark; Size, mm; Type; Qty; Function. A; *; *; 1; POTABLE WATER INLET/OUTLET. B; *; *; 1; PRESSURE GAUGE. C; *; *; 1; PRESSURE SWITCH. D; *; *; 1; HANDWAY. E; *; *; 1; BLADDER ACCESS. F; *; *; 1; AIR INLET. G; *; *; 1; PRESSURE RELIEF VALVE. NOTES: - Seller to add additional nozzles as necessary. - The pressure gauge (Nozzle B) shall include an isolation valve. - Provide a pressure relief valve in accordance with the applicable code. - Vessel shall include process, vent, and drain connections for startup, operation, and maintenance, as required. - Nozzle A shall be extended horizontally outside the tank skirt by 150 mm for ease in system connection.. |  |  |  |  |
|  |  |  |  |  | B D F A BLADDER E C G |  |  |  |
|  | HYDROPNEUMATIC TANK: |  |  | DESIGN / MAX OPER PRESS (barg) |  |  |  |  |
|  | SERVICE |  |  | DESIGN / MAX OPER TEMP (°C) |  |  |  |  |
|  | FILL / DISCHARGE RATE (lpm) |  |  | COATING |  |  |  |  |
|  | DESIRED RUNNING TIME (min) |  |  | NUMBER OF SKIDS |  |  |  |  |
|  | EFFECTIVE SYSTEM PROTECTION (ESP) |  |  | EQUIPMENT TAG NUMBERS |  |  |  |  |
|  | VOLUME (liters) |  |  | INSTALLATION LOCATION |  |  |  |  |
|  | MAX SYSTEM PRESS (barg) |  |  | FREEZE PROTECTION |  |  | * |  |
|  | MIN SYSTEM PRESS (barg) |  |  | FOOTPRINT (HEIGHT) (mm) |  |  | * |  |
|  | MANUFACTURER | * |  | (LENGTH / WIDTH) (mm) |  |  | * | * |
|  | VESSEL TOTAL VOLUME (liters) | * |  | WEIGHT (kg) |  |  | * |  |
|  | OVERALL HEIGHT (mm) |  |  | CONTROL PANEL NEMA RATING |  |  |  |  |
|  | SHELL (MTL / THICKNESS) (mm) |  | * | POWER SOURCE (VOLTAGE) |  |  |  |  |
|  | HEAD (MTL / THICKNESS) (mm) |  | * | (CYCLE / PHASE) |  |  |  |  |
|  | INSULATION CLIPS | YES NO |  | INTERCONNECTING PIPING (SCH) |  |  | * |  |
|  | HYDRO PRESSURE (barg) | * |  | (MATERIAL / SIZE) (mm) |  |  | * | * |
|  | CORROSION ALLOWANCE (mm) |  |  | WELDING SPECIFICATION |  |  |  |  |
|  | FLANGE (RATING / FACING) |  |  | WIND LOADING DESIGN REQS. |  |  |  |  |
|  | FITTINGS RATINGS |  |  | SEISMIC DESIGN REQUIREMENTS |  |  |  |  |
|  | JOINT EFFICIENCY (%) |  |  | MAX ALLOWABLE NOISE LEVEL |  | dBA at m |  |  |
|  | ASME CODE STAMPED | YES NO |  | APPLICABLE CODES/STANDARDS |  |  |  |  |
|  |  |  |  | P&IDS |  |  |  |  |
| NOTES: - Seller shall replace all * (asterisks) with appropriate information. - Nozzle and boss locations are schematic only. Final arrangement will be marked on Seller's drawings. |  |  |  |  |  |  |  |  |