| Building NAME: |  | Reference No. |  | REV: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Instrumentation and Controller Systems – Housing |  |  |  |  |  |  |  |
| This monitoring checklist is intended to highlight the key issues that may arise day-to-day at local level. The procedure and any supporting information should be reviewed and amended as necessary to ensure the document remains up-to-date and definitive for the facility |  |  |  |  |  |  |  |
| No. | Instrumentation system Daily Monitoring Checklist |  |  |  | Daily Monitoring Checklist |  |  |
|  |  |  |  |  | N/A | Yes | No |
| 1 | Systems inspection |  |  |  |  |  |  |
| 2 | System assessment (Is the unit and its associated plant secure from unauthorized access) |  |  |  |  |  |  |
| 3 | Remote monitoring of ventilation, air conditioning, and other Mechanical, Electrical and Plumbing (MEP) systems and equipment through controller and BMS |  |  |  |  |  |  |
| 4 | System functions/mode of operation |  |  |  |  |  |  |
| 5 | Identifying maintenance risks on equipment and raising work orders in case of any discrepancy into MEP systems |  |  |  |  |  |  |
| 6 | Investigating fault /alarms for MEP systems (Logged events / Active Codes) |  |  |  |  |  |  |
| 7 | Duty/standby system are healthy and communicating |  |  |  |  |  |  |
| 8 | Field controllers, routers and switches are online and communicating |  |  |  |  |  |  |
| 9 | System architecture functioning |  |  |  |  |  |  |
| 10 | Performing emergency repairs promptly and efficiently if any |  |  |  |  |  |  |
| 11 | Keeping daily logs and records of all operation functions |  |  |  |  |  |  |
| 12 | Ensuring compliance with appliance standards and with occupational health and safety |  |  |  |  |  |  |
| 13 | Complying with service standards, work instructions and user requirements |  |  |  |  |  |  |
| 14 | Set points accurate (unchanged) |  |  |  |  |  |  |
| 15 | Voltages / Pressures / Flow in specification as per manufacturer |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |