LO/TO ASSESSMENT CHECKLIST DIRECTIONS: Check either “YES,” “NO,” or “NA.” If corrective action is required, answer “NO.” For every “NO” answer, provide a brief description of the issue in the “COMMENTS” column. Add the finding/issue to the HSSE Tracking Register

| No. | LOCKOUT / TAGOUT PROCEDURE & EQUIPMENT SAFETY TAGGING AND LOCKOUT | ANSWER |  |  | COMMENTS |
| --- | --- | --- | --- | --- | --- |
|  |  | YES | NO | N/A |  |
|  | Subcategory 1: Requirements |  |  |  |  |
| 1 | Has the project designated a Tagging Authority for control and disposition of the Lockout/Tagout program? |  |  |  |  |
| 2 | When more than one group is issued safety protection on a System/ Component Safety Tagging Permit and have signed on to an existing permit, does the project ensure that all personnel involved must release the permit before it can be closed?. |  |  |  |  |
| 3 | Are Lockout keys kept in a lock box under the control of the TA? |  |  |  |  |
| 4 | Are records on file that address provisions if a Lockout key is lost or misplaced? |  |  |  |  |
| 6 | Do the Tagging Authority and Responsible Engineer approve all cases when LO/TO Permit must be temporarily lifted and replaced (i.e., to support work or testing)? |  |  |  |  |
| 7 | When temporary lifts are necessary, are all parties identified on the LO/TO Permit informed prior to the lift? |  |  |  |  |
| 8 | If the safety of affected personnel may be compromised during a temporary lift, do they stop their work and sign the permit? |  |  |  |  |
| 9 | Are temporary lifts only performed while the Permit Requestor is in direct personal control of the lift? |  |  |  |  |
| 10 | Does the TA ensure that temporary lifts are not extended beyond the Permit Requestor’s shift? |  |  |  |  |
| 11 | When engaged in LO/TO operations, does the project ensure that “CAUTION – RESTRICTED OPERATION” tags are not used for personal protection for isolating against hazardous energy sources? |  |  |  |  |
| 12 | Does the project ensure that “DANGER – DO NOT OPERATE” tags and “CAUTION – RESTRICTED OPERATION” tags are not hung on the same component? |  |  |  |  |
|  | Subcategory 2: Safety Tagging Permit Requirements |  |  |  |  |
| 13 | Is the appropriate System/Component Energy Isolation and Safety Tagging Permit being used, as required?. |  |  |  |  |
| 14 | Does the Permit Requestor conduct the required walk-down of the equipment or system boundary and identify the recommended protective measures, safety tagging and lockouts? |  |  |  |  |
| 15 | When Supplemental Requestors will be performing work under the permit, does the Tagging Authority ensure that they are identified by name on the System/Component Energy Isolation and Safety Tagging Permit? |  |  |  |  |
| 16 | Does the Tagging Authority confirm/verify all information contained on the permit request before authorizing the permit? |  |  |  |  |
| 17 | Has the Tagging Authority implemented a tag numbering system to ensure proper tracking and accountability for all tags being issued under each permit? |  |  |  |  |
| 18 | Are the specific protective measures (safety tags and locks), as per the applicable/approved System/Component Energy Isolation and Safety Tagging Permit, being properly implemented?. |  |  |  |  |
| 19 | After any required locks are placed, are the keys returned to the Tagging Authority for retention and control until all parties release the safety tag? |  |  |  |  |
| 20 | Does the Permit Requestor (and any supplemental Requestors, when applicable) independently verify all tags/locks are within the permit boundary before signing and dating the permit?. |  |  |  |  |
| 21 | Does the project ensure that personal locks are not used in lieu of a safety lockout/tag out and that they are removed when the person is not actively working on the equipment/system?. |  |  |  |  |
| 22 | When used, are personal locks issued to authorized workers by the Tagging Authority and recorded in the personal lock log? |  |  |  |  |
| 23 | Do personal locks have the individual's name and entity clearly identified?. |  |  |  |  |
| 24 | Does the Tagging Authority verify all component positions before signing and dating the permit?. |  |  |  |  |
| 25 | Does the project ensure that no work on the system will be started until the Tagging Authority has approved the request, the tag(s) are in place and the work group/individual has signed onto the permit? |  |  |  |  |
| 26 | Do the Permit Requestor(s) and/or Supplemental Requestor(s) continuously monitor the effectiveness of established protective measures and permit boundaries to determine if there is a need to modify the System/Component Energy Isolation and Safety Tagging Permit?. |  |  |  |  |
| 27 | When any proposed changes increase the risk of exposure, are all parties notified and the appropriate modifications in tagging/lockout requirements made prior to continuing with work?. |  |  |  |  |
| 28 | When boundary modifications are required, are new locks/tags installed prior to the lifting of the old ones? |  |  |  |  |
| 29 | Do the Requestor(s) and Tagging Authority verify the new permit boundaries, safety tags and locks, and resign the Permit prior to restarting work?. |  |  |  |  |
| 30 | When work is completed, do the Requestor(s)verify that the work is complete and that the isolated components and system are ready to be restored? |  |  |  |  |
| 31 | Does the Tagging Authority ensure that all locks/tags are properly accounted for before authorizing the release of the permit? |  |  |  |  |
| 32 | Does the Tagging Authority ensure that all locks/tags are properly accounted for before authorizing the release of the permit?. |  |  |  |  |
| 33 | In the event an emergency closure/change of permit becomes necessary, does the project ensure that all safeguards are in place in accordance with the provisions of the procedure?. |  |  |  |  |
| 34 | Does the Tagging Authority approve all emergency closures/changes? |  |  |  |  |
| 35 | Are "Caution - Restricted Operation" tags used when a system or component must be energized or operated to safely facilitate a work activity? |  |  |  |  |
| 36 | Does the project ensure that systems or components with a Contractor "Caution - Restricted Operation" tag attached can only be operated by the Requestor(s) identified on the permit? |  |  |  |  |