Maintenance Procedure Design Assessment List

Legend: WMC = Work Management Center action/provided, Tech = Technician action/provided, Client = Client action/provided, PM = Planned Maintenance, UM = Unplanned Maintenance, OOH = Out of Hours, Sub = Sub-contractor.

| No. | Work Procedure Item | WMC | Tech | Client | PM | UM | OOH | Sub |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | GENERAL |  |  |  |  |  |  |  |
|  | WO Number provided? |  |  |  |  |  |  |  |
| 1 | Parent/Child WO relationship specified? |  |  |  |  |  |  |  |
| 2 | Date and time raised in CMMS? |  |  |  |  |  |  |  |
| 3 | WO raised by (NAME) specified? |  |  |  |  |  |  |  |
| 4 | Work Request caller (NAME) specified? |  |  |  |  |  |  |  |
| 5 | Work Request caller contact number provided? |  |  |  |  |  |  |  |
| 6 | Work Request caller location provided? |  |  |  |  |  |  |  |
| 7 | Work Request call date and time provided? |  |  |  |  |  |  |  |
| 8 | Skillset Level specified? |  |  |  |  |  |  |  |
| 9 | Caller specified or site-specific access constraints or procedure specified? |  |  |  |  |  |  |  |
| 10 | Maintenance type stated (PLANNED, UNPLANNED)? |  |  |  |  |  |  |  |
| 11 | Risk Assessments and Method Statements (RAMS) required? |  |  |  |  |  |  |  |
| 12 | Priority code specified? |  |  |  |  |  |  |  |
| 13 | Failure Code specified? |  |  |  |  |  |  |  |
| 14 | Asset Code specified? |  |  |  |  |  |  |  |
| 15 | ‘Caller description’ of location/system provided? |  |  |  |  |  |  |  |
| 16 | Criticality of asset/system provided? |  |  |  |  |  |  |  |
| 17 | Consumables/parts required? |  |  |  |  |  |  |  |
| 18 | Consumables/parts available? |  |  |  |  |  |  |  |
| 19 | Consumables/parts location specified? |  |  |  |  |  |  |  |
| 20 | Consumable/parts collection authorization provided/ confirmed? |  |  |  |  |  |  |  |
| 21 | Consumable/parts stock control update required? |  |  |  |  |  |  |  |
| 22 | Target Finish Date/time stated? |  |  |  |  |  |  |  |
| 23 | Actual Finish Date/time stated? |  |  |  |  |  |  |  |
| 24 | Previous Maintenance deferred? |  |  |  |  |  |  |  |
| 25 | Previous deferred maintenance WO number provided? |  |  |  |  |  |  |  |
| 26 | Previous deferred maintenance details provided? |  |  |  |  |  |  |  |
| 27 | Previous deferred maintenance reason and comments specified? |  |  |  |  |  |  |  |
|  | PRE-SITE |  |  |  |  |  |  |  |
| 28 | WO details checked? |  |  |  |  |  |  |  |
| 29 | WO details completed and corrected? |  |  |  |  |  |  |  |
| 30 | Arrived on site (TIME) provided? |  |  |  |  |  |  |  |
| 31 | Arrived at work location (TIME) provided? |  |  |  |  |  |  |  |
| 32 | Departed work location (TIME) provided? |  |  |  |  |  |  |  |
| 33 | Departed site (TIME) provided? |  |  |  |  |  |  |  |
|  | PRE-REQUISITE |  |  |  |  |  |  |  |
| 34 | Site access permission, request, and pass CHECKED? |  |  |  |  |  |  |  |
| 35 | Maintenance history relevant? |  |  |  |  |  |  |  |
| 36 | Maintenance history provided? |  |  |  |  |  |  |  |
| 37 | Maintenance history reviewed? |  |  |  |  |  |  |  |
| 38 | Work location is safe, clean, and clear? |  |  |  |  |  |  |  |
| 39 | Work location is illuminated? |  |  |  |  |  |  |  |
| 40 | Work location noise is acceptable? |  |  |  |  |  |  |  |
| 41 | Work location dust levels are acceptable? |  |  |  |  |  |  |  |
| 42 | Asset/system is isolated? |  |  |  |  |  |  |  |
| 43 | Asset/system is operating? |  |  |  |  |  |  |  |
| 44 | Asset/system is prepared? |  |  |  |  |  |  |  |
| 45 | Asset/system is safe? |  |  |  |  |  |  |  |
| 46 | Asset/system indicators are ‘healthy’? |  |  |  |  |  |  |  |
| 47 | Associated asset/systems assessed? |  |  |  |  |  |  |  |
| 48 | Associated asset/systems acceptable? |  |  |  |  |  |  |  |
| 49 | Associated asset/systems comment? |  |  |  |  |  |  |  |
| 50 | Other work immediately adjacent? |  |  |  |  |  |  |  |
| 51 | Adjacent work compromises safety? |  |  |  |  |  |  |  |
|  | PERMITS and AUTHORIZATION |  |  |  |  |  |  |  |
| 52 | Confined Space |  |  |  |  |  |  |  |
| 53 | Restricted High Place (RHP) |  |  |  |  |  |  |  |
| 54 | Restricted access – Electrical room |  |  |  |  |  |  |  |
| 55 | Restricted access – Uninterruptible Power Supply (UPS) |  |  |  |  |  |  |  |
| 56 | Restricted access – Generator room |  |  |  |  |  |  |  |
| 57 | Restricted access – Pressurized system |  |  |  |  |  |  |  |
| 58 | Restricted access – cleanliness |  |  |  |  |  |  |  |
| 59 | Restricted access – sensitive information |  |  |  |  |  |  |  |
| 60 | Restricted access – vulnerable people |  |  |  |  |  |  |  |
| 61 | Restricted access – escort required |  |  |  |  |  |  |  |
| 62 | Restricted access – excavation |  |  |  |  |  |  |  |
| 63 | Skills Register restriction (client controlled) |  |  |  |  |  |  |  |
| 64 | OOH Restricted Access |  |  |  |  |  |  |  |
| 65 | CMMS status ‘ON HOLD – Permit’ |  |  |  |  |  |  |  |
|  | WORK ACTIVITY |  |  |  |  |  |  |  |
| 66 | Point of Work Risk Assessment completed? |  |  |  |  |  |  |  |
| 67 | Prepared Work Activity instructions provided? |  |  |  |  |  |  |  |
| 68 | Priority code checked? |  |  |  |  |  |  |  |
| 69 | Priority code change justification provided? |  |  |  |  |  |  |  |
| 70 | Child WO raised? |  |  |  |  |  |  |  |
| 71 | Child WO number provided? |  |  |  |  |  |  |  |
| 72 | Other WO raised? |  |  |  |  |  |  |  |
| 73 | Other WO number or description provided? |  |  |  |  |  |  |  |
|  | RECORDING AND COMMUNICATING INFORMATION |  |  |  |  |  |  |  |
| 74 | Recorded values checked? |  |  |  |  |  |  |  |
| 75 | Satisfactory/unsatisfactory? |  |  |  |  |  |  |  |
|  | POST-REQUISITE |  |  |  |  |  |  |  |
| 76 | Condition statement/score required? |  |  |  |  |  |  |  |
| 77 | Asset quantity confirmed? |  |  |  |  |  |  |  |
| 78 | Asset/system returned to operation? |  |  |  |  |  |  |  |
| 79 | Disposal instruction required? |  |  |  |  |  |  |  |
| 80 | Disposal instruction options/detail required? |  |  |  |  |  |  |  |
| 81 | Work location cleanliness checked? |  |  |  |  |  |  |  |
| 82 | Work location tidiness checked? |  |  |  |  |  |  |  |
| 83 | PMT required? |  |  |  |  |  |  |  |
| 84 | PMT requirements provided? |  |  |  |  |  |  |  |
| 85 | PMT carried out? |  |  |  |  |  |  |  |
| 86 | Customer signature required? |  |  |  |  |  |  |  |
| 87 | Customer signature provided? |  |  |  |  |  |  |  |
| 88 | CONDITIONAL FIELDS (for CMMS Help Desk and Technician PDAs only) |  |  |  |  |  |  |  |
|  | DOCUMENT QUALITY |  |  |  |  |  |  |  |
| 89 | Enough space for all inputs provided? |  |  |  |  |  |  |  |
| 90 | Correct time and date format indicated? |  |  |  |  |  |  |  |
| 91 | Multiple entry updates fields/spaces provided? |  |  |  |  |  |  |  |