Noise Monitoring Form Template

Part I  										    Date:_________________________

Employee Name:___________________					    ID\Iqama No: __________________

Job Name:_____________________ Task Description: _______________________________________

Job Site Location: ___________________________________ Project No:_________________________

Employer Name:____________________________________ Telephone No: ______________________

Part II

Area Sample:_________ Personal Sample: ___________ Number of workers exposed:__________

Hearing protection in use: Yes   No   If yes NPR_________________

Run Time:________ Sound Level:_____________ dBA  Peak Level:_______dBA

TL-Runtime TWA: ____dBA

TL-8-Hour TWA:____ dBA

TL-8-Hour Dose:____ %

Sampled by: ________ Title:__________________________ Date:_____________

Noise measuring instrument name:_______________ Serial No:___________

Calibrating instrument name:___________ Serial No:______________

Before Survey Check/Calibration:__Ok __ Not Ok. Time___:___  hrs. at ___dB Code:__

After Survey Check/Calibration:__Ok __ Not Ok. Time___:___  hrs. at ___dB Code:__

Calibrated by: ________________ Title:_______________________ Date:________________

Part IV

Note1. The noise measuring instrument must be set in the “run” mode to obtain the above data.

Note2. LTL-TWA readings 85 dBA shall require compliance with hearing conservation requirements

Note 3. Parts I and II will be used to update the health database.

Note 4. The original copy of this form shall be maintained by Project Document Control Center PDCC.

Note 5. Code—an encoded number which identifies the internal switch setting (refer to instrument-instructions manual).

Note 6. OL-Time is the length of time the noise equaled or exceeded 115 dBA

| Noise Level Duration 3dBA Exchange Rate Hours duration Per day; Sound leve [dBA]. 16; 82. 12; 83. 10; 84. 8; 85. 4; 88. 2; 91. 1; 94. 30 min; 97. 15 min; 100. 7.5 min; 103. 3.75 min; 106. 1.88 min; 109. .94 min; 112. 28.12 sec; 115.. | Diagram (Use Number that Corresponds to Measurement Location ) |
| --- | --- |

Additional Comments: _______________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

Recommendations:_________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

Served by:____________________________________________

Title:_________________________________________________