| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Entity (EPMO) |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal - Pulling calculation | Prior to commencement | Project Specific | Project Specific |  |  |  |  |
| 2.0 | Material receiving inspection |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Pre-installation |  |  |  |  |  |  |  |  |
| 4.1 |  | Check conduit / duct / tray condition – damage / blockage / bend radii/equipment installation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Installation |  |  |  |  |  |  |  |  |
| 5.1 |  | Visual inspection for identification, damage and removal of rollers / pulleys / etc. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Visual inspection of terminal blocks, lugs and identification | Project Specific | Project Specific |  |  |  |  |  |
| 6.0 | Cable Continuity |  |  |  |  |  |  |  |  |
| 6.1 |  | Megger test | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | High Pot Test (if required) | Project Specific | Project Specific |  |  |  |  |  |
| 7.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 7.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |