| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report / Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ Etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Project |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal | Prior to commencement | Project Specific | Documents available and latest revision from ECMS document management system |  |  |  |  |
| 2.0 | Material receiving inspection |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  | Materials receipt |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Pre Fabrication |  |  |  |  |  |  |  |  |
| 4.1 |  | Approval of the welding procedure specification | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.2 |  | Approval of the Welder Approval Record | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.3 |  | Verify the welding consumables | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Fabrication & Installation |  |  |  |  |  |  |  |  |
| 5.1 |  | Pre-weld fit-up and pipe end preparation (Cutting / beveling / etc.) | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Fit-up is acceptable; vertical lines are plumb; and horizontal lines are level | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.3 |  | Pipe size, schedule, type of material and flange rating is correct | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.4 |  | Pipe orientation and routing is as per isometric | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.5 |  | Confirm Positive Alloy Material Identification (PAMI) | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.6 |  | Verify welding and NDE activities | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.7 |  | Gaskets are installed and are the correct type, style, material, size and rating | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.8 |  | All bolts or studs are installed and tight or torqued/tensioned, as required | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.9 |  | Pipe supports installed at correct spacing, secured and balanced along each pipe run | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.10 |  | For underground piping verify pipe bedding is evenly placed | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.11 |  | Verify pipe cleanliness | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Pre-Test Check List |  |  |  |  |  |  |  |  |
| 6.1 |  | Spools and field run pipe and components installed correctly | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | All temporary supports welding completed, supports correct material type | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.3 |  | All PWHT + NDE records are cleared and acceptable | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.4 |  | Confirm specified item removal complete and protected | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.5 |  | Valve line-up and configuration in place | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.0 | Pressure Testing |  |  |  |  |  |  |  |  |
| 7.1 |  | Verify Hydro test water correct for system to be tested | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.2 |  | All test instruments & equipment calibrated and have valid calibration certificates | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.3 |  | Joints and fittings visually inspected for leaks, or bubble test performed for pneumatic tests | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.0 | Reinstatement |  |  |  |  |  |  |  |  |
| 8.1 |  | Pressure test conformance and release | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.2 |  | Hydro test piping drained on completion of test if applicable. After draining vents, drains closed | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.3 |  | Flushing / Blowing | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.4 |  | Inspection of Seal Welds for vents/drains if applicable | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.5 |  | Verify instruments removed are reinstalled | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.6 |  | Temporary supports removed | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.7 |  | Reinstate elements removed during test | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.8 |  | Verify flow direction | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.9 |  | Bolts tightening / torqueing of flanged connections | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 9.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 9.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |