| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Entity (EPMO) |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal | Prior to Commencement | Project Specific | Project Specific |  |  |  |  |
| 2.0 | Material receiving inspection |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct size/type/rating/labeling | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Pre-installation check sheet |  |  |  |  |  |  |  |  |
| 4.1 |  | Verify foundation / structural steel complete and certified | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.3 |  | Verify orientation of Duct runs/cable ways/ conduit in building complete and certified | Project Specific | Project Specific | Project Specific |  |  |  |  |
|  |  | Factory Acceptance Test completed | Project Specific | Project Specific | Equipment Specific |  |  |  |  |
| 5.0 | Installation |  |  |  |  |  |  |  |  |
| 5.1 |  | Verify equipment alignment and level as per layout drawing | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Holding bolts tightened as per the spec | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.4 |  | Equipment nameplates correct | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.5 |  | Bus bar arrangements installed as per installation drawing | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.6 |  | Verify correct phase relationship throughout the bus bar | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.7 |  | Verify bus bar connections correct and torqued properly | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.8 |  | Verify connection to main electrical ground/ earth | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.9 |  | Sealed against weather, insects, etc. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.10 |  | Circuit breakers movement / alignment satisfactory | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.11 |  | Visual Inspection for damages | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.12 |  | Fuse rating of voltage transformer correct | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Testing - Bus Bar |  |  |  |  |  |  |  |  |
| 6.1 |  | High voltage test | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | Insulation resistance test | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.0 | Testing - Circuit Breaker (if required) |  |  |  |  |  |  |  |  |
| 7.1 |  | Insulation resistance check | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.2 |  | High voltage test | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.3 |  | Mechanical interlock check | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.4 |  | Verify circuit breaker operates properly | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.5 |  | Operating coils rating | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.0 | Protective Relays & Metering |  |  |  |  |  |  |  |  |
| 8.1 |  | Verify relays perform intended function as per the spec | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 9.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 9.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |