| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ Etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Project |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 | General | Confirm documents: - Construction drawing - Method statement - Permits - Material Submittals | Prior to commencement | Project Specific | Documents available and latest revision from document management system |  |  |  |  |
| 2.0 | Material receiving |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  | Material Receiving Report |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Setting out |  |  |  |  |  |  |  |  |
| 4.1 |  | Line Control as per the latest setting out points | Prior to commencement | Project Specific | Project Specific |  |  |  |  |
| 4.2 |  | All below ground utilities identified and marked-out | Prior to commencement | Project Specific | Project Specific |  |  |  |  |
| 5.0 | General Excavation |  |  |  |  |  |  |  |  |
| 5.1 |  | Temporary drainage installed | Prior to excavation | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Lines and grade | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.3 |  | Verify bearing capacity of soil | Project Specific | Project Specific | Project Specific |  |  |  | Soil compaction test report |
| 5.4 |  | Bottom of excavation condition – check for loose material, soft spots, etc. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Backfill & Compaction |  |  |  |  |  |  |  |  |
| 6.1 |  | Backfill materials layer thickness | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | Compaction of backfill material | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.3 |  | Moisture content | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.4 |  | Structural backfill, if required, placed within the time frame to compressive strength | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.0 | Finished Grade |  |  |  |  |  |  |  |  |
| 7.1 |  | Check final line and level | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.2 |  | Topsoil layer thickness, seeding and vermin protection | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.3 |  | Drainage ditches, channels or underground drainage. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 8.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |