| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ Etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Project |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal - Weld procedures and weld certs - Erection drawings / plans | Prior to commencement | Project Specific | Documents available and latest revision from document management system |  |  |  |  |
| 2.0 | Material receiving |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  | Material Receipt |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Storage, method statement & manufacturer’s recommendation. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Shop Fabrication |  |  |  |  |  |  |  |  |
| 4.1 |  | Check fit-up, piece arrangement alignment and dimensions. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.2 |  | Welding Process –Document review / Materials receiving. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.3 |  | Visual and dimensional check | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Erection |  |  |  |  |  |  |  |  |
| 5.1 |  | Temporary supports are in place in accordance with the erection sequence. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Check arrangement against drawing. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Alignment of Steel Work |  |  |  |  |  |  |  |  |
| 6.1 |  | Check for level and verticality as per drawings. | Per Structure Section | Project Specific | Project Specific |  |  |  |  |
| 7.0 | Bolting |  |  |  |  |  |  |  |  |
| 7.1 |  | Verify bolt torqueing is sequenced, phased and completed as designed. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.0 | Coating |  |  |  |  |  |  |  |  |
| 8.1 |  | Check surface preparation and cleanliness. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.2 |  | Verify adhesion and dry film thickness. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 9.0 | As-Built Survey |  |  |  |  |  |  |  |  |
| 9.1 |  | Verify that as build survey is completed. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 10.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 10.1 |  | All records signed off and closed. | Project Specific | Project Specific | Project Specific |  |  |  |  |