| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ Etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Project |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal Fabrication / assembly sequence drawing | Prior to commencement | Project Specific | Documents available and latest revision from document management system |  |  |  |  |
| 2.0 | Material receiving |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  | Materials receipt |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Storage, method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Mock-up |  |  |  |  |  |  |  |  |
| 4.1 |  | Mock-up of typical corner / interface wall panel to verify aesthetics and detail. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Supports Installation |  |  |  |  |  |  |  |  |
| 5.1 |  | Substrate are clean, have no sharp edges or substances capable of damaging finished surface / insulation. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Visual and dimensional check secondary support structure for level, alignment openings, tolerances & interfaces. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.3 |  | All fasteners are in place and secure. |  |  |  |  |  |  |  |
| 6.0 | Install Thermal Insulation |  |  |  |  |  |  |  |  |
| 6.1 |  | Acoustical spacer grid installed. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | Insulation installed to required thickness. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.3 |  | Vapour retarder installed to the warm side of wall. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.4 |  | Check gaskets joint fillers, tape or sealants installed to specification. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.0 | Accessories and trims |  |  |  |  |  |  |  |  |
| 7.1 |  | Exposed flashings and trims are free from tool marks, buckling and deformation, is true to line and level and exposed edges and folded back. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.0 | Cladding / Wall Inspection |  |  |  |  |  |  |  |  |
| 8.1 |  | Visual and dimensional check secondary support structure for level, alignment openings, tolerances & interfaces. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.2 |  | All fasteners are in place and secure. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.3 |  | Water penetration / water spray test. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 8.4 |  | As-built survey undertake | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 9.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 9.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |