| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report / Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage / Frequency | Code / Spec / Etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Project |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal - Weld procedures specification - Weld procedure qualification record - Welders approval record - General arrangement drawings / plans | Prior to commencement | Project Specific | Documents available and latest revision from the ECMS |  |  |  |  |
| 2.0 | Material receiving |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct labels | Project Specific | Project Specific | Project Specific |  |  |  | Material Receipt |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation: - Tube plate - Weld filler / rod | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Fabrication |  |  |  |  |  |  |  |  |
| 4.1 |  | Check fit-up, piece arrangement alignment and dimensions. | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.2 |  | Verify welding operation | Project Specific | Weld Procedure Specification | Project Specific |  |  |  |  |
| 4.3 |  | Visual and dimensional check | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Testing |  |  |  |  |  |  |  |  |
| 5.1 |  | Verify NDE activities | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Confirm Positive Alloy Material Identification (PAMI) | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 6.1 |  | All PWHT + NDE records are cleared and acceptable | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | All records signed off and closed. | Project Specific | Project Specific | Project Specific |  |  |  |  |