| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  | Demonstrated Evidence Report / Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/Frequency | Code/Spec/ Etc. | Acceptance Criteria | Construction Contractor. QC | Customer/Rep. |  |
| 1.0 | Document review |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal | Prior to commencement | Project Specific | Project Specific |  |  |  |
| 2.0 | Material receiving inspection |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  |
| 3.0 | Storage |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |
| 4.0 | Preparation for Installation – Visual Inspection |  |  |  |  |  |  |  |
| 4.1 |  | Equipment area ready - including foundation, anchor bolts, piping connection, electric power connection | Project Specific | Project Specific | Project Specific |  |  |  |
| 5.0 | Installation |  |  |  |  |  |  |  |
| 5.1 |  | Check orientation of suction and discharge nozzles in respect to pump rotation | Project Specific | Project Specific | Project Specific |  |  |  |
| 5.2 |  | Check the orientation of fixing downbolts | Project Specific | Project Specific | Project Specific |  |  |  |
| 6.0 | Installation of connecting piping |  |  |  |  |  |  |  |
| 6.1 |  | Visual inspection to verify equipment alignment and level as per layout drawing | Project Specific | Project Specific | Project Specific |  |  |  |
| 6.2 |  | Check torqueing is as per the spec | Project Specific | Project Specific | Project Specific |  |  |  |
| 6.3 |  | Check for leaks and pressure drops | Project Specific | Project Specific | Project Specific |  |  |  |
| 7.0 | Installation of Equipment Controller & Electrical Connections |  |  |  |  |  |  |  |
| 7.1 |  | Visual Inspection & Testing | Project Specific | Project Specific | Project Specific |  |  |  |
| 8.0 | Performance Run Test |  |  |  |  |  |  |  |
| 8.1 |  | Visual Inspection | Project Specific | Project Specific | Project Specific |  |  |  |
| 8.2 |  | Equipment Speed | Project Specific | Project Specific | Project Specific |  |  |  |
| 8.3 |  | Test for Noise & Vibration | Project Specific | Project Specific | Project Specific |  |  |  |
| 8.4 |  | Power Consumption | Project Specific | Project Specific | Project Specific |  |  |  |
| 8.5 |  | Equipment output – pressure / flow rate / temperature | Project Specific | Project Specific | Project Specific |  |  |  |
| 9.0 | Completion – Visual Inspection |  |  |  |  |  |  |  |
| 9.1 |  | Check for painting damage and blowholes | Project Specific | Project Specific | Project Specific |  |  |  |
| 9.2 |  | Check for enclosures, guards and lagging is in place | Project Specific | Project Specific | Project Specific |  |  |  |
| 10.0 | Final Acceptance |  |  |  |  |  |  |  |
| 10.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |