| Activity No. | Activity Description | Inspection/Test Requirements |  | Reference Documentation |  | Method of Verification (see Legend) |  |  | Demonstrated Evidence Report/Checklist Reference No. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Test or Inspection Performed | Stage/ Frequency | Code/Spec/ etc. | Acceptance Criteria | Construction Contractor | Site Construction Department | Entity (EPMO) |  |
| 1.0 | Document review |  |  |  |  |  |  |  |  |
| 1.1 |  | Confirm documents: - Design drawing - Method statement - Material submittal | Prior to commencement | Project Specific | Project Specific |  |  |  |  |
| 2.0 | Material receiving inspection |  |  |  |  |  |  |  |  |
| 2.1 |  | Visual inspection for damage, deformity and correct label | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 3.0 | Storage |  |  |  |  |  |  |  |  |
| 3.1 |  | Refer to method statement & manufacturer’s recommendation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.0 | Pre-installation check sheet |  |  |  |  |  |  |  |  |
| 4.1 |  | Check physical condition of materials | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.2 |  | Check size & type of materials | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 4.3 |  | Segregate different materials where necessary | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.0 | Installation - supports |  |  |  |  |  |  |  |  |
| 5.1 |  | Check the material of construction for supports | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.2 |  | Check the size of the support against drawing | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 5.3 |  | Check the precise location of the support | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.0 | Installation - cable trays, ladder racks, other raceways |  |  |  |  |  |  |  |  |
| 6.1 |  | Check the routing of raceway (Bend radii, access, separation) | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.2 |  | Carry out regular dimensional and elevation checks | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.3 |  | Check the correct material of construction for all material | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.4 |  | Check for all correct accessories used in the installation | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.5 |  | Check for tightness of all connections | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.6 |  | Burrs and sharp edges removed | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.7 |  | All labels installed | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 6.8 |  | Check Grounding arrangements and Ground Continuity | Project Specific | Project Specific | Project Specific |  |  |  |  |
| 7.0 | Final Acceptance |  |  |  |  |  |  |  |  |
| 7.1 |  | All records signed off and closed | Project Specific | Project Specific | Project Specific |  |  |  |  |