| Report No. |  |  |  |  |  |  | Date: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project Name: |  |  |  |  |  |  | Project No. |  |  |
| System No. |  |  | Equipment Identification: |  |  |  | Area: |  |  |
| REFERENCE DOCUMENT No. |  | Rev. No. | REMARKS |  |  |  |  |  |  |
| ITEM |  |  |  |  | ACCEPT | DATE |  | REMARKS |  |
| 1. Nameplate data is correct |  |  |  |  |  |  |  |  |  |
| 2. Storage and Maintenance Measures Implemented |  |  |  |  |  |  |  |  |  |
| 3. Pre-Installation Checks |  |  |  |  |  |  |  |  |  |
| - Anchor bolt locations are correct and bolts are plum with proper projection/thread length and acceptable physical condition. |  |  |  |  |  |  |  |  |  |
| - Foundation is properly prepared and grouted (if applicable). |  |  |  |  |  |  |  |  |  |
| - Concrete foundation has met minimum comprehensive strength requirements. |  |  |  |  |  |  |  |  |  |
| - Structural Steel supports are designed, inspected, and properly documented including painted and coated. |  |  |  |  |  |  |  |  |  |
| - Shims are smooth, flat, and free of dirt or foreign materials. |  |  |  |  |  |  |  |  |  |
| - Red plate (fixed and sliding ends) are painted and/or coated. |  |  |  |  |  |  |  |  |  |
| - Slide plate is lubricated, and Teflon® or similar surface is complete. |  |  |  |  |  |  |  |  |  |
| 4. Unit is Shimmed and Set |  |  |  |  |  |  |  |  |  |
| 5. Slide/Bed Plates Installed and Level |  |  |  |  |  |  |  |  |  |
| 6. Centerline location is correct |  |  |  |  |  |  |  |  |  |
| 7. Orientation and Elevations are correct |  |  |  |  |  |  |  |  |  |
| 8. Plumbness is acceptable |  |  |  |  |  |  |  |  |  |
| 9. Grouting is complete |  |  |  |  |  |  |  |  |  |
| 10. Anchor bolts have been tightened or torqued |  |  |  |  |  |  |  |  |  |
| 11. Piping alignment is acceptable |  |  |  |  |  |  |  |  |  |
| 12. Installation of internals is complete |  |  |  |  |  |  |  |  |  |
| 13. Field Testing is complete |  |  |  |  |  |  |  |  |  |
| 14. Field flushing or cleaning is complete |  |  |  |  |  |  |  |  |  |
| 15. Internal cleanliness is acceptable |  |  |  |  |  |  |  |  |  |
| 16. Ladders and platforms are complete |  |  |  |  |  |  |  |  |  |
| 17. Closures and Manways are complete |  |  |  |  |  |  |  |  |  |
| 18. Grounding is complete |  |  |  |  |  |  |  |  |  |
| 19. Instruments and controls are complete |  |  |  |  |  |  |  |  |  |
| 20. External painting/coatings are complete |  |  |  |  |  |  |  |  |  |
| 21. Insulation is complete |  |  |  |  |  |  |  |  |  |
| COMMENTS: |  |  |  |  |  |  |  |  |  |
| RESPONSIBLE ENGINEER: |  |  |  |  |  |  |  |  |  |
|  | (Name / Signature) |  |  |  |  | (Date) |  |  |  |