| Building NAME: |  |  | Reference No. |  | REV- 001 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol. 5 Operations Management Chapter 4 |  |  |  |  |  |  |  |
| No. | Shutdown Procedure |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | HVAC Systems - Housing |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Risk Assessments Method Statement (RAMS) available |  |  |  |  |  |  |
| 3 | Chemical Material Safety Data Sheets (MSDS) & Product Data sheets (PDS) checks available |  |  |  |  |  |  |
| 4 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 5 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 6 | Emergency evacuation plan reviewed |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors |  |  |  |  |  |  |
| 8 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarm) |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 10 | System Owner/ Manager /Engineering team’s approvals available |  |  |  |  |  |  |
| 11 | End-user/ Department head’s approvals available |  |  |  |  |  |  |
| 12 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 13 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 14 | Approved Permit To Work (PTW) |  |  |  |  |  |  |
|  | Stand by System Condition |  |  |  |  |  |  |
| 15 | System’s operating condition checks |  |  |  |  |  |  |
| 16 | System is leakage free |  |  |  |  |  |  |
| 17 | System faults/alarm free checks |  |  |  |  |  |  |
| 18 | Water flow checks |  |  |  |  |  |  |
| 19 | Systems’ parameters checks |  |  |  |  |  |  |
|  | Pre-Shutdown Checks |  |  |  |  |  |  |
| 20 | System is alarm free checks |  |  |  |  |  |  |
| 21 | Automatic control panel parameters checks |  |  |  |  |  |  |
| 22 | Set points checks |  |  |  |  |  |  |
| 23 | Pressure gauges checks |  |  |  |  |  |  |
| 24 | Magnahelic / gauges |  |  |  |  |  |  |
| 25 | Heat recovery checks |  |  |  |  |  |  |
| 26 | All related valves open /closed checks |  |  |  |  |  |  |
|  | Routine Stop |  |  |  |  |  |  |
| 27 | Lock out, Tag Out (LOTO) removed checks |  |  |  |  |  |  |
| 28 | Stop fan from Business Management System (BMS) |  |  |  |  |  |  |
| 29 | Stop water supply |  |  |  |  |  |  |
| 30 | Stop electrical power supply |  |  |  |  |  |  |
| 31 | Close valves checks |  |  |  |  |  |  |
|  | Post Stop Checks |  |  |  |  |  |  |
| 32 | Open basin drain valves |  |  |  |  |  |  |
| 33 | Air quality parameters checks |  |  |  |  |  |  |
| 34 | Identification of broken/damaged pipeline checks |  |  |  |  |  |  |
| 35 | Identification of hot water and chilled water or other specialized systems pipework |  |  |  |  |  |  |
| 36 | Inspection of all accessories and assets |  |  |  |  |  |  |
| 37 | Closed valves checks |  |  |  |  |  |  |
| 38 | Closed bypass valve checks |  |  |  |  |  |  |
| 39 | System stop condition checks |  |  |  |  |  |  |
| 40 | Filter quality parameters checks |  |  |  |  |  |  |
| 41 | Identification of broken/damaged pipework |  |  |  |  |  |  |
| 42 | Condense water condition check |  |  |  |  |  |  |
| 43 | Lock out and tag out appropriate electrical isolators |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 44 | Department’s heads (Facility Management) |  |  |  |  |  |  |
| 45 | Computer Aided Facility Management (CAFM) system |  |  |  |  |  |  |
| 46 | Reporting |  |  |  |  |  |  |
| 47 | End-user/Stakeholder notification checks |  |  |  |  |  |  |
| 48 | Specialist contractors/water treatment company’s service reports and suggestions/recommendations on water treatment systems review |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |