Water Treatment Systems

| Healthcare Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Water Treatment Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Chemical Material Safety Data Sheets & Product Data Sheets (MSDS & PDS) checks available |  |  |  |  |  |  |
| 4 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 5 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 6 | Emergency evacuation plan review |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 8 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 10 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 11 | End-user department head approvals available |  |  |  |  |  |  |
| 12 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 13 | Specialist contractor schedule of work available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | Standby System Condition |  |  |  |  |  |  |
| 15 | System operating condition checks |  |  |  |  |  |  |
| 16 | System leakage free checks |  |  |  |  |  |  |
| 17 | System faults/alarm free checks |  |  |  |  |  |  |
| 18 | Water flow checks |  |  |  |  |  |  |
| 19 | System parameters checks |  |  |  |  |  |  |
|  | Pre-Shutdown Checks |  |  |  |  |  |  |
| 20 | System is alarm free checks |  |  |  |  |  |  |
| 21 | Automatic Control Panel parameters checks |  |  |  |  |  |  |
| 22 | Set Points and dosing pump stroke rates checks |  |  |  |  |  |  |
| 23 | Pressure gauges checks |  |  |  |  |  |  |
| 24 | Water meters/gauges checks |  |  |  |  |  |  |
| 25 | Dosing tanks checks |  |  |  |  |  |  |
| 26 | All related valves open-closeout checks |  |  |  |  |  |  |
|  | Routine Stop |  |  |  |  |  |  |
| 27 | Lock Out, Tag Out (LOTO) remove checks |  |  |  |  |  |  |
| 28 | Stop chemical dosing feeder |  |  |  |  |  |  |
| 29 | Stop water supply |  |  |  |  |  |  |
| 30 | Stop electrical power supply |  |  |  |  |  |  |
| 31 | Close valves checks |  |  |  |  |  |  |
|  | Post Start Checks |  |  |  |  |  |  |
| 32 | Open basin drain valves |  |  |  |  |  |  |
| 33 | Close basin isolation gates or install stop-logs |  |  |  |  |  |  |
| 34 | Dewater basins, if necessary. Waste any water that has not been properly treated |  |  |  |  |  |  |
| 35 | Flush the water for 1-5 min checks |  |  |  |  |  |  |
| 36 | Close raw water gate to flash-mix chamber or channel |  |  |  |  |  |  |
| 37 | Check the basic parameters of the water on site testing checks |  |  |  |  |  |  |
| 38 | Shut off appropriate valves |  |  |  |  |  |  |
| 39 | Flush or clean chemical feed lines if necessary |  |  |  |  |  |  |
| 40 | Shut down flash mixer and flocculates as water leaves each process |  |  |  |  |  |  |
| 41 | Shut down sample pumps before water leaves sampling location |  |  |  |  |  |  |
| 42 | Lock out and tag appropriate electrical switches |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 43 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 44 | Computer-Aided Facility Management (CAFM) system |  |  |  |  |  |  |
| 45 | Reporting |  |  |  |  |  |  |
| 46 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| 47 | Specialist contractors/water treatment company services reports and suggestions/recommendations on water treatment systems review |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Plumbing Systems

| Healthcare Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Plumbing Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency evacuation plan review |  |  |  |  |  |  |
| 5 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 6 | Emergency eyewash & showers available |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 8 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 9 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 10 | QHSE approvals available |  |  |  |  |  |  |
| 11 | Qualified plumber |  |  |  |  |  |  |
| 12 | End-user/Healthcare facility department approvals available |  |  |  |  |  |  |
| 13 | Approved permit to work |  |  |  |  |  |  |
|  | Standby System Condition |  |  |  |  |  |  |
| 14 | System fault/alarm free checks |  |  |  |  |  |  |
| 15 | System operating conditions checks |  |  |  |  |  |  |
| 16 | System line pressure checks |  |  |  |  |  |  |
| 17 | System water temperature checks |  |  |  |  |  |  |
| 18 | Systems water quality checks |  |  |  |  |  |  |
| 19 | System is hazard free |  |  |  |  |  |  |
|  | Pre Shutdown Checks |  |  |  |  |  |  |
| 20 | Inspect plumbing fixture for damages |  |  |  |  |  |  |
| 21 | Pipes insulation checks |  |  |  |  |  |  |
| 22 | Faucet leakage checks |  |  |  |  |  |  |
| 23 | Clogged drainage checks |  |  |  |  |  |  |
| 24 | Water tanks levels checks |  |  |  |  |  |  |
| 25 | Plan and schedule work checks |  |  |  |  |  |  |
|  | Routine Stop |  |  |  |  |  |  |
| 26 | System LOTO checks |  |  |  |  |  |  |
| 27 | Close water supply |  |  |  |  |  |  |
| 28 | Stop electrical power supply |  |  |  |  |  |  |
| 29 | Building Management System (BMS) popup alarm checks |  |  |  |  |  |  |
| 30 | Shutdown impact checks |  |  |  |  |  |  |
|  | Post Start Checks |  |  |  |  |  |  |
| 31 | Lavatory Faucet, Angle Stops, Service Tubing, Drain Piping, Drainage, Tub/Shower Faucet, Toilet Controls, Angle Stop/Service Tubing & Sink Faucet checks |  |  |  |  |  |  |
| 32 | Water quality parameters checks |  |  |  |  |  |  |
| 33 | Identification of broken/damaged pipeline checks |  |  |  |  |  |  |
| 34 | Identification of hot water and cold water or other specialized systems pipes checks |  |  |  |  |  |  |
| 35 | Inspection of all plumbing accessories & assets checks |  |  |  |  |  |  |
| 36 | Closed valves checks |  |  |  |  |  |  |
| 37 | Closed bypass valve checks |  |  |  |  |  |  |
| 38 | System stop condition checks |  |  |  |  |  |  |
| 39 | Tank level checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 40 | Healthcare facility department heads notified |  |  |  |  |  |  |
| 41 | CAFM system |  |  |  |  |  |  |
| 42 | Reporting |  |  |  |  |  |  |
| 43 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Generator Systems

| Healthcare Facility Name: |  |  | Reference No. |  | REV-000 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | Generator Systems: |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE & clothing available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency evacuation plan review |  |  |  |  |  |  |
| 5 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 6 | Hazard gas/fuels/chemicals MSDS & PDS checks |  |  |  |  |  |  |
| 7 | Emergency eyewash & showers available |  |  |  |  |  |  |
| 8 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 10 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 11 | End-user department head’s approvals available |  |  |  |  |  |  |
| 12 | QHSE approvals available |  |  |  |  |  |  |
| 13 | Specialist Contractors schedule of work available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | Standby system condition |  |  |  |  |  |  |
| 15 | Over crank checks |  |  |  |  |  |  |
| 16 | Low water temperature checks |  |  |  |  |  |  |
| 17 | High engine temperature pre alarm checks |  |  |  |  |  |  |
| 18 | High engine temperature checks |  |  |  |  |  |  |
| 19 | Low lube oil pressure pre alarm checks |  |  |  |  |  |  |
| 20 | Low water temperature checks |  |  |  |  |  |  |
|  | Pre shutdown checks |  |  |  |  |  |  |
| 21 | System is alarm free and fault free |  |  |  |  |  |  |
| 22 | Set point/programming set up checks |  |  |  |  |  |  |
| 23 | Leaking injectors checks |  |  |  |  |  |  |
| 24 | Battery electrolyte levels checks |  |  |  |  |  |  |
| 25 | Battery voltage checks |  |  |  |  |  |  |
| 26 | Air dampers (if fitted are closed) checks |  |  |  |  |  |  |
| 27 | Fuel level in main storage checks |  |  |  |  |  |  |
| 28 | Fuel valves are close checks |  |  |  |  |  |  |
| 29 | Carry out a walk around inspection checks |  |  |  |  |  |  |
| 30 | Water temperature gauge and the oil temperature gauge during the heater operation to ensure that the jacket water heater (if equipped) and/or the lube oil heater (if equipped) works properly and is closed checks |  |  |  |  |  |  |
| 31 | Log out and tag out checks |  |  |  |  |  |  |
|  | Routine stop |  |  |  |  |  |  |
| 32 | LOTO checks |  |  |  |  |  |  |
| 33 | Stop power supply |  |  |  |  |  |  |
| 34 | Stop water supply |  |  |  |  |  |  |
| 35 | Check OEM shutdown procedure |  |  |  |  |  |  |
| 36 | Fuel level in the tank checks |  |  |  |  |  |  |
| 37 | BMS popup alarms checks |  |  |  |  |  |  |
|  | Post start checks |  |  |  |  |  |  |
| 38 | System fault/alarm free checks |  |  |  |  |  |  |
| 39 | Equipment OEM post start checks |  |  |  |  |  |  |
| 40 | Fuel tanks level checks |  |  |  |  |  |  |
| 41 | System operating condition checks |  |  |  |  |  |  |
| 42 | Fuel leakages checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 43 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 44 | CAFM systems |  |  |  |  |  |  |
| 45 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| 46 | Reporting |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Fire Protection Systems

| Healthcare Facility Name: |  |  | Reference No. |  | REV-000 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | Fire Protection Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency evacuation plan review |  |  |  |  |  |  |
| 5 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 6 | Fire drills conducted & training for all the staff checks |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and contractors available |  |  |  |  |  |  |
| 8 | Ventilations |  |  |  |  |  |  |
| 9 | Emergency eyewash and showers available |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 10 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 11 | End-user department head’s approvals available |  |  |  |  |  |  |
| 12 | QHSE approvals available |  |  |  |  |  |  |
| 13 | Specialist contract working schedule available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | Standby system condition |  |  |  |  |  |  |
| 15 | Fault/alarm free checks |  |  |  |  |  |  |
| 16 | System pressure checks |  |  |  |  |  |  |
| 17 | System water temperature checks |  |  |  |  |  |  |
| 18 | Fire water tanks level checks |  |  |  |  |  |  |
| 19 | System hazard free checks |  |  |  |  |  |  |
| 20 | Operating condition checks |  |  |  |  |  |  |
|  | Pre shutdown checks |  |  |  |  |  |  |
| 21 | System alarm free and fault free |  |  |  |  |  |  |
| 22 | Control panel checks |  |  |  |  |  |  |
| 23 | Pressure gauges checks |  |  |  |  |  |  |
| 24 | LOTO checks |  |  |  |  |  |  |
| 25 | Open and close valves checks |  |  |  |  |  |  |
| 26 | Water supply checks |  |  |  |  |  |  |
|  | Routine stop |  |  |  |  |  |  |
| 27 | System fault/alarm checks |  |  |  |  |  |  |
| 28 | System communication with BMS checks |  |  |  |  |  |  |
| 29 | Stop system incoming water supply line |  |  |  |  |  |  |
| 30 | Stop power supply |  |  |  |  |  |  |
|  | Post start checks |  |  |  |  |  |  |
| 31 | System fault/alarm free checks |  |  |  |  |  |  |
| 32 | Equipment OEM post start checks |  |  |  |  |  |  |
| 33 | Fire water tanks level checks |  |  |  |  |  |  |
| 34 | System operating condition checks |  |  |  |  |  |  |
| 35 | Check the water/foams/CO2 fire extinguishers leakage |  |  |  |  |  |  |
| 36 | Inspection of hose reals and pressure testing checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 37 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 38 | CAFM systems |  |  |  |  |  |  |
| 39 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| 40 | Reporting |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Chiller Systems

| Healthcare Facility Name: |  |  | Reference No. |  | REV-000 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | Chiller Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 5 | Emergency evacuation plan review |  |  |  |  |  |  |
| 6 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 7 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 8 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 9 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 10 | End-user department head’s approvals available |  |  |  |  |  |  |
| 11 | QHSE approvals available |  |  |  |  |  |  |
| 12 | Specialist contractors schedule of work available |  |  |  |  |  |  |
| 13 | Approved permit to work |  |  |  |  |  |  |
|  | Standby system condition |  |  |  |  |  |  |
| 14 | Fault/alarm free checks |  |  |  |  |  |  |
| 15 | System pressure checks |  |  |  |  |  |  |
| 16 | System water temperature checks |  |  |  |  |  |  |
| 17 | System operating conditions checks |  |  |  |  |  |  |
| 18 | System water meter and gauges checks |  |  |  |  |  |  |
|  | Pre shutdown checks |  |  |  |  |  |  |
| 19 | System fault/alarm free checks |  |  |  |  |  |  |
| 20 | Control panel checks |  |  |  |  |  |  |
| 21 | Pressure gauges checks |  |  |  |  |  |  |
| 22 | LOTO checks |  |  |  |  |  |  |
| 23 | Open and close valves checks |  |  |  |  |  |  |
| 24 | Water supply checks |  |  |  |  |  |  |
| 25 | System programming checks |  |  |  |  |  |  |
| 26 | System water parameters checks |  |  |  |  |  |  |
|  | Routine stop |  |  |  |  |  |  |
| 27 | System fault/alarm checks |  |  |  |  |  |  |
| 28 | System communication with BMS checks |  |  |  |  |  |  |
| 29 | Stop system incoming water supply line |  |  |  |  |  |  |
| 30 | Stop power supply |  |  |  |  |  |  |
|  | Post start checks |  |  |  |  |  |  |
| 31 | System fault/alarm free checks |  |  |  |  |  |  |
| 32 | Equipment OEM post start checks |  |  |  |  |  |  |
| 33 | Water tanks level checks |  |  |  |  |  |  |
| 34 | System operating condition checks |  |  |  |  |  |  |
| 35 | LOTO checks |  |  |  |  |  |  |
| 36 | Chemicals levels checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 37 | Department heads notified |  |  |  |  |  |  |
| 38 | CAFM system |  |  |  |  |  |  |
| 39 | Reporting |  |  |  |  |  |  |
| 40 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Medical Gas Systems

| Healthcare Facility Name: |  |  | Reference No. |  | REV-000 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | Medical Gas Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement and risk assessment available |  |  |  |  |  |  |
| 3 | Gas MSDS and PDS checks |  |  |  |  |  |  |
| 4 | Medical gas labeling checks |  |  |  |  |  |  |
| 5 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 6 | Emergency evacuation plan review |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 8 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
| 10 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 11 | System owner/Manager approvals available |  |  |  |  |  |  |
| 12 | End-user department head’s approvals available |  |  |  |  |  |  |
| 13 | QHSE approvals available |  |  |  |  |  |  |
| 14 | Specialist contractor schedule of work available |  |  |  |  |  |  |
| 15 | Approved permit to work |  |  |  |  |  |  |
|  | Standby system condition |  |  |  |  |  |  |
| 16 | Fault/alarm free checks |  |  |  |  |  |  |
| 17 | System pressure checks |  |  |  |  |  |  |
| 18 | System water temperature checks |  |  |  |  |  |  |
| 19 | System operating conditions checks |  |  |  |  |  |  |
| 20 | System pipeline gas leakages checks |  |  |  |  |  |  |
|  | Pre shutdown checks |  |  |  |  |  |  |
| 21 | System fault/alarm free checks |  |  |  |  |  |  |
| 22 | Control panel checks |  |  |  |  |  |  |
| 23 | Pressure gauges checks |  |  |  |  |  |  |
| 24 | LOTO checks |  |  |  |  |  |  |
| 25 | Open and close valves checks |  |  |  |  |  |  |
| 26 | Medical gas supply checks |  |  |  |  |  |  |
| 27 | System programming checks |  |  |  |  |  |  |
|  | Routine stop |  |  |  |  |  |  |
| 28 | System fault/alarm checks |  |  |  |  |  |  |
| 29 | System communication with BMS checks |  |  |  |  |  |  |
| 30 | Stop system incoming gas supply line |  |  |  |  |  |  |
| 31 | Stop power supply |  |  |  |  |  |  |
| 32 | System fault/alarm checks |  |  |  |  |  |  |
| 33 | System associated systems checks |  |  |  |  |  |  |
|  | Post start checks |  |  |  |  |  |  |
| 34 | System fault/alarm free checks |  |  |  |  |  |  |
| 35 | Equipment OEM post start checks |  |  |  |  |  |  |
| 36 | Gas cylinder stocks checks |  |  |  |  |  |  |
| 37 | System operating condition checks |  |  |  |  |  |  |
| 38 | LOTO checks |  |  |  |  |  |  |
| 39 | Gas levels in cylinder checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 40 | Healthcare Facility Department Heads (FM) notified |  |  |  |  |  |  |
| 41 | CAFM Systems |  |  |  |  |  |  |
| 42 | Reporting |  |  |  |  |  |  |
| 43 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |