| Facilities Name: |  |  | Reference No. |  | REV- 001 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol. 5 Operations Management Chapter 10 |  |  |  |  |  |  |  |
| No. | Isolation and Shutdown Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | Life Safety Systems (LSS): Healthcare |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Risk Assessments Method Statement (RAMS) available |  |  |  |  |  |  |
| 3 | Chemical Material Safety Data Sheets (MSDS) and Product Data sheets (PDS) checks available |  |  |  |  |  |  |
| 4 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 5 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 6 | Emergency evacuation plan reviewed |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors |  |  |  |  |  |  |
| 8 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression and fire alarm) |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 10 | System Owner/Manager/Engineering team’s approvals available |  |  |  |  |  |  |
| 11 | End-user/Department heads’ approvals available |  |  |  |  |  |  |
| 12 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 13 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 14 | Approved Permit To Work (PTW) |  |  |  |  |  |  |
|  | Stand by System Condition |  |  |  |  |  |  |
| 15 | System’s operating condition checks |  |  |  |  |  |  |
| 16 | System is leakage free |  |  |  |  |  |  |
| 17 | System faults/alarm free checks |  |  |  |  |  |  |
| 18 | Water flow checks |  |  |  |  |  |  |
| 19 | Systems’ parameters checks |  |  |  |  |  |  |
|  | Pre-Shutdown Checks |  |  |  |  |  |  |
| 20 | System is alarm free checks |  |  |  |  |  |  |
| 21 | Automatic control panel parameters checks |  |  |  |  |  |  |
|  | Routine Stop |  |  |  |  |  |  |
| 22 | Lock Out Tag Out (LOTO) removed checks |  |  |  |  |  |  |
| 23 | Stop fan from Business Management System (BMS) |  |  |  |  |  |  |
| 24 | Stop water supply |  |  |  |  |  |  |
| 25 | Stop electrical power supply |  |  |  |  |  |  |
| 26 | Close valves checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 27 | Departments’ heads (Facility Management) |  |  |  |  |  |  |
| 28 | Computer Aided Facility Management (CAFM) system |  |  |  |  |  |  |
| 29 | Reporting |  |  |  |  |  |  |
| 30 | End-user/Stakeholder notification checks |  |  |  |  |  |  |
| 31 | Specialist contractors/water treatment company’s service reports and suggestions/recommendations on water treatment systems review |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |