| Building NAME: |  | Reference No. |  | REV: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Procedure Checklist |  |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  | N/A | YES | NO |
|  | Instrumentation and Controller Systems - Parks & Recreation |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Risk Assessments Method Statement (RAMS) available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 5 | Emergency evacuation plan reviewed |  |  |  |  |  |  |
| 6 | Emergency contact details of the responsible person and the contractors |  |  |  |  |  |  |
| 7 | Life safety systems (fire extinguishers, sprinklers, gas suppression & fire alarm) |  |  |  |  |  |  |
| 8 | Job Hazard Analysis completed |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 9 | System owner / Manager/Engineering Team’s approvals available |  |  |  |  |  |  |
| 10 | Work orders raised / Scope of task clear |  |  |  |  |  |  |
| 11 | End-user department head’s approvals available |  |  |  |  |  |  |
| 12 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 13 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 14 | Approved Permit to Work (PTW) |  |  |  |  |  |  |
|  | Stand by Condition System Checks |  |  |  |  |  |  |
| 15 | Tooling inspected / Housekeeping |  |  |  |  |  |  |
| 16 | Data saved |  |  |  |  |  |  |
| 17 | Soft shutdown SOP/procedure to follow |  |  |  |  |  |  |
| 18 | Auto mode/overrides |  |  |  |  |  |  |
| 19 | Events / logs saved |  |  |  |  |  |  |
| 20 | Voltage system check and confirm / recorded |  |  |  |  |  |  |
| 21 | Mechanical, Electrical and Plumbing (MEP) systems mode of operation/system architecture/control logics |  |  |  |  |  |  |
|  | Pre-shutdown Checks (Integrated system functional checks) |  |  |  |  |  |  |
| 22 | Automatic control panel parameters check |  |  |  |  |  |  |
| 23 | Stand by systems working |  |  |  |  |  |  |
| 24 | Overrides/auto functions active |  |  |  |  |  |  |
|  | Routine Stop |  |  |  |  |  |  |
| 25 | Lock Off Tag Out (LOTO) checks |  |  |  |  |  |  |
| 26 | Server working |  |  |  |  |  |  |
| 27 | No events/alarms on standby systems |  |  |  |  |  |  |
|  | Post-stop Checks |  |  |  |  |  |  |
| 28 | MEP system functioning |  |  |  |  |  |  |
| 29 | Verify device to be Change out |  |  |  |  |  |  |
| 30 | Controller active |  |  |  |  |  |  |
| 31 | Alarms/warnings recorded |  |  |  |  |  |  |
| 32 | System architecture functioning |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 33 | Department heads (FM) |  |  |  |  |  |  |
| 34 | Computer-Aided Facility Management (CAFM) system |  |  |  |  |  |  |
| 35 | Reporting |  |  |  |  |  |  |
| 36 | End-user/stockholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |