Water Treatment Systems

| Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Water Treatment Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Chemical Material Safety Data Sheets & Product Data Sheets (MSDS & PDS) checks available |  |  |  |  |  |  |
| 4 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 5 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 6 | Emergency evacuation plan review |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 8 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 10 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 11 | End-user department head approvals available |  |  |  |  |  |  |
| 12 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 13 | Specialist contractor schedule of work available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 15 | System pressure checks |  |  |  |  |  |  |
| 16 | System temperature checks |  |  |  |  |  |  |
| 17 | Chemicals level checks |  |  |  |  |  |  |
| 18 | System hazard free and no chemical spillage checks |  |  |  |  |  |  |
| 19 | Water test kit checks |  |  |  |  |  |  |
| 20 | Chemicals stocks & expiry checks |  |  |  |  |  |  |
| 21 | Required tools checks |  |  |  |  |  |  |
| 22 | Opening and closing valve checks - Lock Out, Tag Out (LOTO) |  |  |  |  |  |  |
| 23 | Confirm with schematic and Building Management System (BMS) |  |  |  |  |  |  |
| 24 | Areas are cleaned and egressed checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 25 | System fault free/alarm free checks |  |  |  |  |  |  |
| 26 | Equipment manufacturer’s startup procedure available |  |  |  |  |  |  |
| 27 | Automatic controller checks |  |  |  |  |  |  |
| 28 | Parameters set point checks |  |  |  |  |  |  |
| 29 | Water meters/gauges checks |  |  |  |  |  |  |
| 30 | Dosing tanks filled with chemicals checks |  |  |  |  |  |  |
| 31 | Water treatment systems basics inspection checks |  |  |  |  |  |  |
| 32 | Previous service reports checks (3rd party specialist) |  |  |  |  |  |  |
| 33 | Water supply to systems/plants checks |  |  |  |  |  |  |
| 34 | Domestic water tank levels checks |  |  |  |  |  |  |
| 35 | Mechanical schematic diagrams available |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 36 | System operating parameters checks |  |  |  |  |  |  |
| 37 | System alarms/warnings checks |  |  |  |  |  |  |
| 38 | Water running parameters checks |  |  |  |  |  |  |
| 39 | Basin/Pond levels checks |  |  |  |  |  |  |
| 40 | Plant or system operations checks |  |  |  |  |  |  |
| 41 | System/Programming BMS operations running checks |  |  |  |  |  |  |
| 42 | System running and online (cause & effects checks) |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 43 | Healthcare facility departments heads (FM) notified |  |  |  |  |  |  |
| 44 | Computer-Aided Facility Management (CAFM) system |  |  |  |  |  |  |
| 45 | Reporting |  |  |  |  |  |  |
| 46 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Plumbing Systems

| Facility Name: |  |  | Reference No. |  | REV-000 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A |  | YES | NO |
|  | Plumbing Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency evacuation plan review |  |  |  |  |  |  |
| 5 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 6 | Emergency eyewash & showers available |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 8 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 9 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 10 | QHSE approvals available |  |  |  |  |  |  |
| 11 | Qualified plumber |  |  |  |  |  |  |
| 12 | End-user/ Healthcare facility department approvals available |  |  |  |  |  |  |
| 13 | Approved permit to work |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 14 | Required spares and consumables checks |  |  |  |  |  |  |
| 15 | System pipeline water supply checks |  |  |  |  |  |  |
| 16 | System water tanks levels checks |  |  |  |  |  |  |
| 17 | System hazard free checks |  |  |  |  |  |  |
| 18 | System/Pipeline clogging checks |  |  |  |  |  |  |
| 19 | Areas are cleaned and egressed checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 20 | Required plumbing tools checks |  |  |  |  |  |  |
| 21 | Oiling and greasing pipeline and types of pipe available |  |  |  |  |  |  |
| 22 | Water temperature checks |  |  |  |  |  |  |
| 23 | Pressure gauges in BMS and actual checks |  |  |  |  |  |  |
| 24 | Water meters/gauges reading checks |  |  |  |  |  |  |
| 25 | Leakage checks |  |  |  |  |  |  |
| 26 | Water flushing checks |  |  |  |  |  |  |
| 27 | Mechanical/Plumbing schematic diagrams available |  |  |  |  |  |  |
| 28 | Equipment manufacturer’s startup procedure available |  |  |  |  |  |  |
| 29 | System fault free/alarm free checks |  |  |  |  |  |  |
| 30 | Domestic water supply checks |  |  |  |  |  |  |
| 31 | Water tank levels checks |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 32 | System operating inspection checks |  |  |  |  |  |  |
| 33 | All types valves online and offline checks |  |  |  |  |  |  |
| 34 | System running operating condition checks |  |  |  |  |  |  |
| 35 | Identification of broken/damaged pipeline checks |  |  |  |  |  |  |
| 36 | Identification of hot water and cold water or other specialized systems pipes checks |  |  |  |  |  |  |
| 37 | Inspection of all plumbing accessories & assets checks |  |  |  |  |  |  |
| 38 | Water heater mixer checks |  |  |  |  |  |  |
| 39 | Water taps and toilet flushing checks |  |  |  |  |  |  |
| 40 | Shower head and other accessories disinfection checks (Legionella) |  |  |  |  |  |  |
| 41 | System fault/alarm checks |  |  |  |  |  |  |
| 42 | System/Programming BMS operations running checks |  |  |  |  |  |  |
|  | otifications |  |  |  |  |  |  |
| 43 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 44 | CAFM system |  |  |  |  |  |  |
| 45 | Reporting |  |  |  |  |  |  |
| 46 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Generator Systems

| Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Generator Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE & clothing available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency evacuation plan review |  |  |  |  |  |  |
| 5 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 6 | Hazard gas/fuels/chemicals MSDS & PDS checks |  |  |  |  |  |  |
| 7 | Emergency eyewash & showers available |  |  |  |  |  |  |
| 8 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 10 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 11 | End-user department head approvals available |  |  |  |  |  |  |
| 12 | QHSE approvals available |  |  |  |  |  |  |
| 13 | Specialist contractors schedule of work available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 15 | System pressure checks |  |  |  |  |  |  |
| 16 | System temperature checks |  |  |  |  |  |  |
| 17 | Chemical levels checks |  |  |  |  |  |  |
| 18 | System hazard free and no chemical spillage checks |  |  |  |  |  |  |
| 19 | Required tools checks |  |  |  |  |  |  |
| 20 | Oil opening and closing valve checks (LOTO) |  |  |  |  |  |  |
| 21 | Fuel level checks |  |  |  |  |  |  |
| 22 | Areas are cleaned and egressed checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 23 | System alarm free and fault free checks |  |  |  |  |  |  |
| 24 | Flow meters/gauges checks |  |  |  |  |  |  |
| 25 | Leaking injectors checks |  |  |  |  |  |  |
| 26 | Battery electrolyte levels checks |  |  |  |  |  |  |
| 27 | Battery voltage checks |  |  |  |  |  |  |
| 28 | Air dampers (if fitted are open) checks |  |  |  |  |  |  |
| 29 | Fuel level in day tank checks |  |  |  |  |  |  |
| 30 | Oil level checks |  |  |  |  |  |  |
| 31 | Fuel level in main storage checks |  |  |  |  |  |  |
| 32 | Fuel fire valves correct position checks |  |  |  |  |  |  |
| 33 | Fuel valves are OPEN checks |  |  |  |  |  |  |
| 34 | Record running hours checks |  |  |  |  |  |  |
| 35 | Coolant water level checks |  |  |  |  |  |  |
| 36 | Water temperature gauge and the oil temperature gauge during the heater operation to ensure that the jacket water heater (if equipped) and/or the lube oil heater (if equipped) works properly checks |  |  |  |  |  |  |
| 37 | Mechanical schematic diagrams available |  |  |  |  |  |  |
| 38 | Equipment manufacturer’s startup procedure available |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 39 | System operating parameters checks |  |  |  |  |  |  |
| 40 | System operating alarms/warnings checks |  |  |  |  |  |  |
| 41 | Oil pressure checks |  |  |  |  |  |  |
| 42 | Walk round engine and leakage checks |  |  |  |  |  |  |
| 43 | Oil temperature checks |  |  |  |  |  |  |
| 44 | Running fuel levels checks |  |  |  |  |  |  |
| 45 | Engine load in kW checks |  |  |  |  |  |  |
| 46 | Engine load in KVA checks |  |  |  |  |  |  |
| 47 | Record running hours checks |  |  |  |  |  |  |
| 48 | System/Programming BMS operation running checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 49 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 50 | CAFM system |  |  |  |  |  |  |
| 51 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| 52 | Reporting |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Fire Protection Systems

| Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Fire Protection Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency evacuation plan review |  |  |  |  |  |  |
| 5 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 6 | Fire drills conducted & training for all the staff checks |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and contractors available |  |  |  |  |  |  |
| 8 | Ventilations |  |  |  |  |  |  |
| 9 | Emergency eyewash and showers available |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 10 | System owner/Manager/Engineering teams’ approvals available |  |  |  |  |  |  |
| 11 | End-user department head approvals available |  |  |  |  |  |  |
| 12 | QHSE approvals available |  |  |  |  |  |  |
| 13 | Specialist contract working schedule available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 15 | Water flushing checks |  |  |  |  |  |  |
| 16 | System pressure checks |  |  |  |  |  |  |
| 17 | System water temperature checks |  |  |  |  |  |  |
| 18 | LOTO/Isolation checks if required |  |  |  |  |  |  |
| 19 | Mechanical schematic diagrams available |  |  |  |  |  |  |
| 20 | Areas are cleaned and egressed checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 21 | System fault/alarm free checks |  |  |  |  |  |  |
| 22 | Control panel checks |  |  |  |  |  |  |
| 23 | Meters/Gauges checks |  |  |  |  |  |  |
| 24 | Stand by systems available checks |  |  |  |  |  |  |
| 25 | BMS communications checks |  |  |  |  |  |  |
| 26 | Tools and equipment required checks |  |  |  |  |  |  |
| 27 | Oiling and greasing of pumps checks |  |  |  |  |  |  |
| 28 | Valid third party certifications from local body accreditation for contractors available |  |  |  |  |  |  |
| 29 | Manufacturer’s records and instructions checks |  |  |  |  |  |  |
| 30 | Water supply checks |  |  |  |  |  |  |
| 31 | Fire water tanks levels checks |  |  |  |  |  |  |
| 32 | Systems pressure checks |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 33 | System operating conditions checks |  |  |  |  |  |  |
| 34 | Systems running inspections/parameters checks |  |  |  |  |  |  |
| 35 | Elevators inspection during isolation checks |  |  |  |  |  |  |
| 36 | Fire rated doors and access control checks |  |  |  |  |  |  |
| 37 | Systems effected shutdown requested checks |  |  |  |  |  |  |
| 38 | Pump room temperature checks |  |  |  |  |  |  |
| 39 | Suction and discharge pressure checks |  |  |  |  |  |  |
| 40 | Pumps, valves, pumps controllers, flow & pressure checks |  |  |  |  |  |  |
| 41 | Pipe, fittings, and supports components checks |  |  |  |  |  |  |
| 42 | Pressure reducing or regulating valves checks |  |  |  |  |  |  |
| 43 | Water storage tanks pressure checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 44 | Healthcare facility department heads notified |  |  |  |  |  |  |
| 45 | CAFM system |  |  |  |  |  |  |
| 46 | Reporting |  |  |  |  |  |  |
| 47 | End-users/Stakeholders notifications checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Chiller Systems

| Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Chiller Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement & risk assessment available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 5 | Emergency evacuation plan review |  |  |  |  |  |  |
| 6 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 7 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 8 | Ventilation |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 9 | System owner/Managers’ approvals available |  |  |  |  |  |  |
| 10 | End-user department head approvals available |  |  |  |  |  |  |
| 11 | QHSE approvals available |  |  |  |  |  |  |
| 12 | Healthcare facility department approvals available |  |  |  |  |  |  |
| 13 | Specialist contractor schedule of work available |  |  |  |  |  |  |
| 14 | Approved permit to work |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 15 | System pressure checks |  |  |  |  |  |  |
| 16 | System temperature checks |  |  |  |  |  |  |
| 17 | System hazard free checks |  |  |  |  |  |  |
| 18 | Opening and closing valve checks – confirm with schematic and BMS |  |  |  |  |  |  |
| 19 | System fault free/alarm free checks |  |  |  |  |  |  |
| 20 | Parameters set point checks |  |  |  |  |  |  |
| 21 | Water meters/gauges checks |  |  |  |  |  |  |
| 22 | Areas are cleaned and egressed checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 23 | System fault/alarm free checks |  |  |  |  |  |  |
| 24 | Control panel checks |  |  |  |  |  |  |
| 25 | Set points checks |  |  |  |  |  |  |
| 26 | Meters/Gauges checks |  |  |  |  |  |  |
| 27 | Leak test entire unit checks |  |  |  |  |  |  |
| 28 | Mechanical schematic diagrams available |  |  |  |  |  |  |
| 29 | Equipment Manufacturer’s startup procedure available |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 30 | System operating parameters checks |  |  |  |  |  |  |
| 31 | System alarms/warnings checks |  |  |  |  |  |  |
| 32 | Chiller water parameters checks |  |  |  |  |  |  |
| 33 | Systems running condition checks |  |  |  |  |  |  |
| 34 | 2 ways and 3 ways bypass valve operating conditions checks |  |  |  |  |  |  |
| 35 | Check leakage of pipes & associated systems |  |  |  |  |  |  |
| 36 | Ambient temperature, chiller level, economizer level & pilot drum level checks |  |  |  |  |  |  |
| 37 | Process water-Inlet temp. checks |  |  |  |  |  |  |
| 38 | Process water-Outlet temp. checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 39 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 40 | CAFM system |  |  |  |  |  |  |
| 41 | Reporting |  |  |  |  |  |  |
| 42 | End-users/Stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |

Medical Gas Systems

| Facility Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Medical Gas Systems |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required PPE available |  |  |  |  |  |  |
| 2 | Method statement and risk assessment available |  |  |  |  |  |  |
| 3 | Gas MSDS and PDS checks |  |  |  |  |  |  |
| 4 | Medical gas label checks |  |  |  |  |  |  |
| 5 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 6 | Emergency evacuation plan review |  |  |  |  |  |  |
| 7 | Emergency contact details of the responsible person and the contractors available |  |  |  |  |  |  |
| 8 | Life Safety Systems (fire extinguishers, sprinklers, gas suppression & fire alarms) checks |  |  |  |  |  |  |
| 9 | Ventilation |  |  |  |  |  |  |
| 10 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
|  | Preapprovals |  |  |  |  |  |  |
| 11 | System owner/Managers’ approvals available |  |  |  |  |  |  |
| 12 | End-user department head approvals available |  |  |  |  |  |  |
| 13 | QHSE approvals available |  |  |  |  |  |  |
| 14 | Specialist contractor schedule of work available |  |  |  |  |  |  |
| 15 | Approved permit to work |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 16 | System pressure checks |  |  |  |  |  |  |
| 17 | Pipeline leakage checks |  |  |  |  |  |  |
| 18 | System hazard free checks |  |  |  |  |  |  |
| 19 | Medical gas all types of cylinders leakages checks |  |  |  |  |  |  |
| 20 | Regulating valve checks |  |  |  |  |  |  |
| 21 | Cleaned for oxygen service documentation on tubing and fittings checks |  |  |  |  |  |  |
| 22 | Test gas purity checks |  |  |  |  |  |  |
| 23 | Cylinder handling checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 24 | System fault/alarm free checks |  |  |  |  |  |  |
| 25 | Control panel checks |  |  |  |  |  |  |
| 26 | Set points checks |  |  |  |  |  |  |
| 27 | Meters/Gauges checks |  |  |  |  |  |  |
| 28 | Initial blow down checks |  |  |  |  |  |  |
| 29 | Initial pressure test checks |  |  |  |  |  |  |
| 30 | Cross-connection tests checks |  |  |  |  |  |  |
| 31 | Standing pressure tests (24-hour) checks |  |  |  |  |  |  |
| 32 | Final purge tests checks |  |  |  |  |  |  |
| 33 | All types of valves checks (safety, isolation & pressure indicators) |  |  |  |  |  |  |
| 34 | Mechanical schematic diagrams available |  |  |  |  |  |  |
| 35 | Areas are cleaned and egressed checks |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 36 | System operating parameters checks |  |  |  |  |  |  |
| 37 | System operating alarms/warnings checks |  |  |  |  |  |  |
| 38 | Overall plant control and indication checks |  |  |  |  |  |  |
| 39 | Individual compressor starting checks |  |  |  |  |  |  |
| 40 | Surgical nitrogen flow control checks |  |  |  |  |  |  |
| 41 | Medical oxygen flow control checks |  |  |  |  |  |  |
| 42 | Efficiency of the plant checks |  |  |  |  |  |  |
| 43 | Integrated systems communication checks (BMS) |  |  |  |  |  |  |
| 44 | Flow meters checks |  |  |  |  |  |  |
| 45 | All gas temperature checks |  |  |  |  |  |  |
| 46 | Line pressure alarms and safety valves checks |  |  |  |  |  |  |
| 47 | Emergency inlet and outlet port checks |  |  |  |  |  |  |
| 48 | Pressure control equipment checks |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 49 | Healthcare facility department heads (FM) notified |  |  |  |  |  |  |
| 50 | CAFM system |  |  |  |  |  |  |
| 51 | Reporting |  |  |  |  |  |  |
| 52 | End-users/stakeholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |