| Facilities Name: |  |  | Reference No. |  |  | REV-001 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol.5 Operations Management Chapter 10 |  |  |  |  |  |  |  |
| No. | Start-Up Procedure |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Life Safety Systems (LSS): Healthcare |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Risk Assessments Method Statement (RAMS) available |  |  |  |  |  |  |
| 3 | Location of first aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 5 | Emergency evacuation plan reviewed |  |  |  |  |  |  |
| 6 | Emergency contact details of the authorized person and the contractors |  |  |  |  |  |  |
| 7 | Life Safety Systems (fire extinguishers, sprinklers, gas suppressors and fire-alarm) |  |  |  |  |  |  |
| 8 | Ventilation |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 9 | System owner/Manager/Engineering team’s approvals available |  |  |  |  |  |  |
| 10 | End-user/Department Head’s approval available |  |  |  |  |  |  |
| 11 | Quality, Health, Safety, Environment Management (QHSE) approval available |  |  |  |  |  |  |
| 12 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 13 | Approved Permit To Work (PTW) |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 14 | System health checks |  |  |  |  |  |  |
| 15 | System is free of faults |  |  |  |  |  |  |
| 16 | Required tools checks |  |  |  |  |  |  |
| 17 | Tags - Lock Out Tag Out (LOTO) checks |  |  |  |  |  |  |
| 18 | Confirm with schematic and Business Management system (BMS) |  |  |  |  |  |  |
| 19 | Areas are cleaned and egress checks |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  |
| 20 | System fault free/alarm free check |  |  |  |  |  |  |
| 21 | Original Equipment Manufacturers’ (OEM) start-up procedure available |  |  |  |  |  |  |
| 22 | Automatic controller checks |  |  |  |  |  |  |
| 23 | Parameters set point checks |  |  |  |  |  |  |
| 24 | Previous services reports checks (3rd party specialist) |  |  |  |  |  |  |
| 25 | Primary supplies systems/plants checks |  |  |  |  |  |  |
| 26 | Mechanical and electrical schematic diagrams |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 27 | System operating parameters checks |  |  |  |  |  |  |
| 28 | System alarms/warnings checks |  |  |  |  |  |  |
| 29 | System/programming Building Management System (BMS) operation running checks |  |  |  |  |  |  |
| 30 | System running and on-line (cause and effects checks) |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 31 | Department heads (Facility Management) |  |  |  |  |  |  |
| 32 | Reporting |  |  |  |  |  |  |
| 33 | End-user/stakeholders’ notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |