| Building NAME: |  | Reference No. |  | REV: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Procedure Checklist |  |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  | N/A | YES | NO |
|  | Instrumentation and Controller Systems – Municipal |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Risk Assessments Method Statement (RAMS) available |  |  |  |  |  |  |
| 3 | Location of first-aid instructions and supplies available |  |  |  |  |  |  |
| 4 | Emergency eyewash and showers available |  |  |  |  |  |  |
| 5 | Emergency evacuation plan reviewed |  |  |  |  |  |  |
| 6 | Emergency contact details of the authorized person and the contractors |  |  |  |  |  |  |
| 7 | Life safety systems (fire extinguishers, sprinklers, gas suppression & fire alarm) |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 8 | System owner/Manager/Engineering Team’s approvals available |  |  |  |  |  |  |
| 9 | End-user department head’s approvals available |  |  |  |  |  |  |
| 10 | Work order signed off and complete / Task complete |  |  |  |  |  |  |
| 11 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 12 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 13 | Approved Permit to Work (PTW) |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 14 | Controller display screen (No active faults indicated) |  |  |  |  |  |  |
| 15 | Controller display screen (Logged failure codes recorded and cleared) |  |  |  |  |  |  |
| 16 | Building Network communication enabled |  |  |  |  |  |  |
| 17 | Controller area cleaned and pathways cleared |  |  |  |  |  |  |
| 18 | Battery Voltage / Check alarms |  |  |  |  |  |  |
|  | Pre-Start checks |  |  |  |  |  |  |
| 19 | System fault free/alarm free check |  |  |  |  |  |  |
| 20 | Torque sheets completed if required |  |  |  |  |  |  |
| 21 | Instrument calibrations done and recorded |  |  |  |  |  |  |
| 22 | Original Equipment Manufacturers (OEM) startup procedure available |  |  |  |  |  |  |
| 23 | Parameters set point check (pressure, temperature, flow, etc.) |  |  |  |  |  |  |
| 24 | Previous service reports check (3rd party specialist) |  |  |  |  |  |  |
| 25 | Tooling put inspection / Housekeeping |  |  |  |  |  |  |
|  | Start checks |  |  |  |  |  |  |
| 26 | Mechanical, Electrical and Plumbing (MEP) system operating/parameters checks |  |  |  |  |  |  |
| 27 | MEP system alarms/warnings checks |  |  |  |  |  |  |
| 28 | System running and online (cause & effects check if any activated) |  |  |  |  |  |  |
| 29 | Work area clean / tooling post inspection |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 30 | Department heads (FM) |  |  |  |  |  |  |
| 31 | Computer-Aided Facilities Management (CAFM) system |  |  |  |  |  |  |
| 32 | Reporting completed and documented |  |  |  |  |  |  |
| 33 | End-user/stakeholders notification check |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |