| PROJECT NAME: |  |  | JOB No. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ATTACHMENT: |  |  | MR No. |  |  |  |
| DETAILS |  |  |  |  |  |  |
|  | SERVICE / P&ID NUMBER |  |  |  |  |  |
|  | MANUFACTURER / MODEL | * |  |  | * |  |
|  | QUANTITY / PUMP LOCATION |  |  |  | Indoors Outdoors |  |
|  | EQUIPMENT TAG NUMBER(S) |  |  |  |  |  |
|  | LIQUID PUMPED / SUMP INFORMATION |  |  |  |  |  |
|  | FLUID |  |  |  |  |  |
|  | FLUID TEMPERATURE: RATED / MINIMUM / MAXIMUM (°C) |  |  |  |  |  |
|  | SPECIFIC GRAVITY @ RATED TEMPERATURE |  |  |  |  |  |
|  | VISCOSITY / VAPOR PRESSURE @ RATED TEMPERATURE (ssu / bara) |  |  |  |  |  |
|  | SUMP DEPTH BELOW BOTTOM OF PUMP SUPPORT PLATE (m) |  |  |  |  |  |
|  | PUMP PERFORMANCE |  |  |  |  |  |
|  | RATED CAPACITY (m3/hr) |  |  |  |  |  |
|  | DIFFERENTIAL HEAD / TOTAL DIFFERENTIAL HEAD (Note 2) (m) |  |  |  | * |  |
|  | NPSHA / NPSHR / MINIMUM SUBMERGENCE (m / m / mm) | * |  | * |  | * |
|  | EFFICIENCY / BRAKE HORSEPOWER AT RATED CONDITIONS (% / kW) | * |  |  | * |  |
|  | PUMP SPEED (rpm) | * |  |  |  |  |
|  | MAXIMUM ALLOWABLE NOISE LEVEL (PUMP AND MOTOR) (dBA @ m) | @ |  |  |  |  |
|  | PUMP CONSTRUCTION |  |  |  |  |  |
|  | TYPE | Vertical Vertical Cantilever Submersible Commercial |  |  |  |  |
|  | CONFIGURATION | Simplex Duplex |  |  |  |  |
|  | IMPELLER TYPE | Open Semi-Open Recessed |  |  |  |  |
|  | SHAFT SEAL TYPE | * |  |  |  |  |
|  | BEARING TYPE - FRAME / LINESHAFT | * |  |  | * |  |
|  | BEARING LUBE - TYPE | Grease Packed |  |  | External Flush |  |
|  | FLUSHING WATER: FLOW / PRESSURE (m3/hr / barg) | * |  |  | * |  |
|  | DISCHARGE SIZE / FLANGE RATING / FLANGE FACING (mm / -- / --) | * |  |  |  |  |
|  | SUPPORT PLATES | Required |  |  | Not Required |  |
|  | CIRCULAR - DIAMETER / THICKNESS (mm) |  |  |  | * |  |
|  | SQUARE - LENGTH / WIDTH / THICKNESS (mm) |  |  |  |  | * |
|  | RECTANGULAR - LENGTH / WIDTH / THICKNESS (mm) |  |  |  |  | * |
|  | PIT COVER | Not Required |  | By Buyer |  | By Seller |
|  | SQUARE - LENGTH / WIDTH / THICKNESS (mm) |  |  |  |  | * |
|  | RECTANGULAR - LENGTH / WIDTH / THICKNESS (mm) |  |  |  |  | * |
|  | MATERIALS | DESCRIPTION |  |  | ASTM NUMBER |  |
|  | SUSPENSION COLUMN | * |  |  | * |  |
|  | CASE | * |  |  | * |  |
|  | IMPELLER | * |  |  | * |  |
|  | SHAFT | * |  |  | * |  |
|  | DISCHARGE PIPE | * |  |  | * |  |
|  | SUPPORT PLATE | * |  |  | * |  |
|  | PIT COVER | * |  |  | * |  |
|  | CONTROLS |  |  |  |  |  |
|  | ENCLOSURE NEMA CLASS (CONTROL PANEL) |  |  |  |  |  |
|  | ALTERNATOR | Electrical |  |  | Mechanical |  |
|  | LIQUID LEVEL CONTROL TYPE | Mechanical Ball Float |  |  | Mechanical Tilt Type |  |
|  | DRIVER |  |  |  |  |  |
|  | MANUFACTURER | * |  |  |  |  |
|  | MOTOR RATING / SPEED (kW / rpm) | * |  |  | * |  |
|  | WEIGHTS |  |  |  |  |  |
|  | PUMP / TOTAL PUMP-MOTOR ASSEMBLY / PIT COVER (kg) | * |  | * |  | * |
| NOTES: - Seller shall replace all * (asterisks) and incomplete check boxes with appropriate information. Does not relieve the Seller from performance responsibilities. - Differential head excludes discharge pipe losses for vertical type pump. These losses are to be added by Seller in determining total differential head. |  |  |  |  |  |  |