| Hospital Name: |  |  | Reference No. |  |  | REV-00A |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Systems Monitoring / Daily Rounds Checklist |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Electrical Systems – Housing Checklist |  |  |  |  |  |  |
|  | This monitoring checklist is intended to highlight the key issues that may arise day-to-day at local level. The procedure and any supporting information should be reviewed and amended as necessary to ensure the document remains up-to-date and definitive for the facility |  |  |  |  |  |  |
| 1 | System inspection and checking: Are the systems running? |  |  |  |  |  |  |
| 2 | System assessment: is the unit and its associated plant secure from unauthorized access? |  |  |  |  |  |  |
| 3 | Remote monitoring of electrical systems via BMS |  |  |  |  |  |  |
| 4 | Identifying maintenance risks on equipment and rising work orders |  |  |  |  |  |  |
| 5 | Investigating faults/alarms for electrical systems |  |  |  |  |  |  |
| 6 | Cleaning and adjusting of system |  |  |  |  |  |  |
| 7 | Performing emergency repairs promptly and efficiently |  |  |  |  |  |  |
| 8 | Providing technical direction to ensure system maintains online |  |  |  |  |  |  |
| 9 | Keeping daily logs and records of all maintenance functions |  |  |  |  |  |  |
| 10 | Ensuring compliance with appliance standards and with occupational health and safety |  |  |  |  |  |  |
| 11 | Complying with service standards, work instructions and user requirements |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |