| Healthcare Name: |  |  | Reference No. |  |  | REV- 001 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol. 5 Operations Management Chapter 10 |  |  |  |  |  |  |  |
| No. | Systems Monitoring / Daily Checks |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Life Safety Systems (LSS): Healthcare |  |  |  |  |  |  |
|  | This monitoring checklist is intended to highlight key issues that may arise day to day at local level. The procedures and any supporting information should be reviewed and amended as necessary to ensure that the document remains up-to-date and definitive for the healthcare facility. |  |  |  |  |  |  |
| 1 | System inspection and checking: main control panels for fire alarm and sprinkler systems ‘ON” running? |  |  |  |  |  |  |
| 2 | System assessment checks: Is the control panel and its associated equipment secured from unauthorized access? |  |  |  |  |  |  |
| 3 | Are there any fault codes or indications showing on the control panel? |  |  |  |  |  |  |
| 4 | Identifying maintenance risks on equipment and raising work orders |  |  |  |  |  |  |
| 5 | Investigating fault/alarms for LSS systems checks |  |  |  |  |  |  |
| 6 | Keeping daily logs and records of all the maintenance functions |  |  |  |  |  |  |
| 7 | Fire doors |  |  |  |  |  |  |
| 8 | Complying with service standards, work instructions, and users’ requirements |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |