Expro Projects White Book

Volume 6, Chapter 7

Utility Corridor Design Criteria Template

Document No. EPM-KEC-TP-000020 Rev 002

Document Submittal History:

| Rev.: | Rev Status | Date: | Entity | Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- | --- | --- | --- | --- |
| 00X | For XXXXX | DD/MM/YYYY | XXXXX | NAME | NAME | NAME |
| Signatures: |  |  |  |  |  |  |

THIS NOTICE MUST ACCOMPANY EVERY COPY OF THIS DOCUMENT

IMPORTANT NOTICE

This document, (“Document”) is the exclusive property of Government Expenditure & Projects Efficiency Authority.

This Document should be read in its entirety including the terms of this Important Notice. The government entities may disclose this Document or extracts of this Document to their respective consultants and/or contractors, provided that such disclosure includes this Important Notice.

Any use or reliance on this Document, or extracts thereof, by any party, including government entities and their respective consultants and/or contractors, is at that third party’s sole risk and responsibility. Government Expenditure and Projects Efficiency Authority, to the maximum extent permitted by law, disclaim all liability (including for losses or damages of whatsoever nature claimed on whatsoever basis including negligence or otherwise) to any third party howsoever arising with respect to or in connection with the use of this Document including any liability caused by negligent acts or omissions.

This Document and its contents are valid only for the conditions reported in it and as of the date of this Document.

Table of Contents

1.0	General	5

1.1	Introduction	5

1.2	Applicability	5

1.3	Definitions	5

1.4	Abbreviations	5

1.5	General Requirements	5

1.6	Codes and Standards	5

1.7	Review and Approval	5

2.0	UTILITY CORRIDOR design	5

2.1	General Consideration	5

2.2	Right of Way	5

2.3	Design Consideration	5

2.3.1	Water Supply Corridor	5

2.3.2	Wastewater Collection Corridor	6

2.3.3	Irrigation/ Treated Sewage Effluent (TSE) Corridor	6

2.3.4	Storm Water Corridor	6

2.3.5	District Cooling Corridor	6

2.3.6	Power Supply Corridor	6

2.3.7	Telecommunication Duct Corridor	6

2.3.8	Fiber Optics Corridor	6

2.3.9	Gas Supply Corridor	6

2.3.10	Solid Waste Collection Bins	6

3.0	Utilities Corridor Special Arrangements	7

3.1	Intersections and Roundabouts	7

3.2	Bridges	7

3.3	Utility Tunnel	7

# General

## Introduction

Indicate the entity or entities responsible for developing the design criteria. Designate the organization/organizations responsible for design, construction, operation and maintenance.

## Applicability

Define the applicability of the design criteria and any limitations. Clarify that this design criterion is applicable to utilities inside or outside of building or both.

## Definitions

Explain the different technical definitions used in the design criteria.

## Abbreviations

List all technical abbreviations used in the design criteria.

## General Requirements

Describe the international publications of design requirements which can also be followed in conjunction with the design criteria.

## Codes and Standards

Utility corridors must comply with all applicable local, National and International codes, standards, and regulations. These codes, standards, and regulations must be listed in the design criteria. The designer shall provide precedence of codes, standards, and regulations, and shall ensure that any discrepancies between those that are listed in the design criteria are addressed.

## Review and Approval

Specify the organization/organizations responsible for review and approval of the design reports, plan and specifications.

# UTILITY CORRIDOR design

## General Consideration

## Right of Way

Right of way shall be defined for the different land use contexts. Preferred locations for different types of utilities should also be stated based on accessibility and safe distance. Criteria should explicitly state whether utility could be placed under carriageway or not based on frequency of operation and maintenance and the potential for damage caused due to pipe failure.

## Design Consideration

There shall be a specific corridor for each utility; however, utility chambers may encroach into other utility corridors. The guidelines for encroachment shall be specified to be followed during design.

### Water Supply Corridor

Water supply corridor width shall be specified with respect to pipe diameter. The water supply corridors should be wide enough to accommodate the size of chamber associated with the pipe diameter.

The vertical and horizontal safe isolation distances of potable water utilities from other utilities, especially sewer and irrigation, shall be specified.

### Wastewater Collection Corridor

Sewer corridor width shall be specified with respect to pipe diameter. The sewer corridors should be wide enough to accommodate the manhole size associated with the pipe diameter.

The vertical and horizontal safe isolation distance from potable water utilities shall be specified.

### Irrigation/ Treated Sewage Effluent (TSE) Corridor

Irrigation corridor width shall be specified with respect to pipe diameter. The irrigation corridors should be wide enough to accommodate the size of chamber associated with the pipe diameter.

### Storm Water Corridor

Storm water pipe corridor width shall be specified with respect to pipe diameter. The corridors should be wide enough to accommodate the manhole size associated with pipe diameter.

Separate corridors may be required for the main storm water pipeline and inlet storm water pipes. Therefore, the required minimum distance between these corridors shall be specified keeping in view the minimum pipe length required for connection between inlet and manhole.

### District Cooling Corridor

District cooling corridor width shall be specified as a function of supply/return pipe diameter. The district cooling corridors should be wide enough to accommodate the size of the combined chamber associated with the pipe diameter.

### Power Supply Corridor

Power corridors may include HV, MV, LV and street lighting. Separate requirements shall be stated for HV lines and street lighting. However, the required width of combined corridors for both MV and LV shall also specified.

### Telecommunication Duct Corridor

Telecommunication corridors for telecommunications provider or providers shall be stated based on road type. The corridors should be wide enough to accommodate the size of chamber associated with conduit diameters.

### Fiber Optics Corridor

Corridors for fiber optics ducts may be required for Traffic Control System, Intelligent Traffic System, Falcon Eye System etc. The duct width shall be stated.

### Gas Supply Corridor

Gas corridors shall be stated based on road type. Due to safety issues, the safe isolation distance of gas pipelines from buildings and electrical cables shall be specified.

### Solid Waste Collection Bins

If an underground waste bin or vacuum system must be accommodated, special corridors shall be allocated for solid waste collection.

# Utilities Corridor Special Arrangements

## Intersections and Roundabouts

Utility corridors shall be arranged in such a way that service on any one utility will not fully block all connected roads.  Guidelines shall be provided to meet this goal.

## Bridges

Guidelines shall be stated for utility corridor arrangements on bridges.

## Utility Tunnel

Utility tunnels may be required for boulevards to avoid underground crowding of pressure utilities in narrow Right of Way (ROW). Therefore, the size of utility tunnels, ventilation requirements, walkthrough system requirements, etc., shall be stated.